## List1
EVIDENCA RAZISKOVALNE OPREME S PODATKI O MESEČNI UPORABI
Raziskovalna organizacija | Šifra RO | Šifra RS | Šifra PS / IS (za P-14) | SKRBNIK OPREME | Šifra skrbnika | NAZIV OPREME | LETO NABAVE | FULL NAME OF EQUIPMENT | NABAVNA VREDNOST (EUR) | Vir sofinanciranja iz javnih sredstev | Opis postopka dostopa do opreme - (čas; največ 5 stavkov) | Access of equipment | Namembnost opreme in dodatne informacije (največ 5 stavkov) | Purpose of equipment and additional information | Inventarna številka v knjigovodski evidenci | Cena za uporabo raziskovalne opreme ( v EUR / na uro ) | Struktura lastne cene za uporabo raziskovalne opreme ( v EUR / na uro) |  |  |  | Letna stopnja izkoriščenosti v % | Stopnja odpisanosti v % | Spletna stran RO (predstavitev opreme, pogoj dostopa, cenik) | MESEČNO POROČILO - SEPTEMBER 2011
[17 empty] | Stroški amortizacije | Stroški materiala in storitev za vzdrževanje opeme | Stroški dela | Skupaj lastna cena |  |  |  | Mesečna stopnja izkoriščenosti ( v %) | Šifra programa oz. projekta 1 | Uporabnik | % uporabe | Šifra programa oz. projekta 2 | Uporabnik | % uporabe | Šifra programa oz. projekta 3 | Uporabnik | % uporabe | Šifra programa oz. projekta 4 | Uporabnik | % uporabe | Šifra programa oz. projekta 5 | Uporabnik | % uporabe
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 4 | P2-0249 / IP-0510 | Damijan Miklavčič | 10268 | Sistem za merjenje in analizo sprememb pasivnih električnih lastnosti bioloških tkiv in celic v suspenziji v časovnem in frekvenčnem prostoru vsled elektroporacije celične membrane | 2003 | System for measurement and analysis of passive electric properties of biological tissues in time and frequency domains after cell membrane electroporation | 82874.31 | Paket 11 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. Uporaba s strani zunanjih RO je možna po predhodnem dogovoru. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. It is available to external RO upon request. | Sistem tvorijo trije sklopi: impedančni analizator visoke ločljivosti, štirikanalni digitalni osciloskop in paket za numerično modeliranje. Omogoča spremljanje električnih lastnosti bioloških celic v suspenziji in njihovih sprememb, do katerih pride ob izpostavitvi električnim pulzom, v realnem času. | The system comprises three components: a high-resolution impedance analyzer, a four-channel digital oscilloscope and a software package for numerical modeling based on the finite-elements method. It allows for real-time monotoring of electric properties of biological cells in suspension and the changes of these properties caused by an exposure to electric pulses. | 20045, 20041, 15756, 20037, 20036, 20034, 20046, 16344 | 89.75 | 9.75 | 35 | 45 | 89.75 | 5% v okviru MRIC IP-0510, 95% v okviru raziskovalnega programa P2-0249 in projekta Z26503 | 100% | http://lbk.fe.uni-lj.si/index_si.html | 100% | Z2-6503 | Damijan Miklavčič | 5% | Z2-9661 | Nataša Pavšelj | 20% | P2-0249 | Damijan Miklavčič | 75% | –
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 24 | P2-0228 | Marko Munih | 7134 | Robot s senzorskim sistemom in krmilnikom z odprto arhitekturo | 2002 | Robot with sensory system and open control arhitecture | 67115.05 | Paket 11 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | To je industrijski robot nadgrajen z novim krmilnim sistemom, ki omogoča frekvence zanke do več kHz. To je potrebno za stabilen kontakt robota z okolico, tudi pri kontaktu s človekom. | This is industrial robot, enhanced with new control system allowing loop frequencies of several kHz. This is required for stable of robot with environment, also in contact with human. | 19282 | 87.9 | 7.9 | 35 | 45 | 87.9 | 100% | 100% | robo.fe.uni-lj.si | 100% | Več dr., mag. In dipl. nalog. |  |  | P2-0228 | Tadej Bajd |  | FP7-MIMICS
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 25 | P2-0225 | Janko Drnovšek | 10774 | Realizacija temperaturne fiksne točke bakra | 2002 | system for realization of freezing point of copper (fixed point cell + furnace) | 50075.11 | Paket 11 | Inštrument je mogoče uporabiti v okviru prenosa vrednosti primarnega etalona na najvišjem metrološkem nivoju (medlaboratorijska primerjava). Zaradi pogoste uporabe inštrumenta je nujen vnaprejšen dogovor glede časovne uporabe. Cena uporabe se oblikuje na podlagi ur delovanja ter ekspertnih ur upravljalca instrumenta s strani skrbnika opreme. | The instrument can be shared in a scope of transfer of primary standard value at the highest metrological level (interlaboratory comparison). Due to frequent use, the external use of the instrument shall be agreed upon long time in advance. The cost of the external use is based on the working time of the instrument and expert hours of the operator. | Instrument služi za realizacijo točke strdišča bakra Z njim se prenaša vrednost primarnega etalona temperature na delovne etalone v raziskovalnih inštitucijah in industriji. | The instrument serves for realization of freezing point of copper. It is used to disseminate the value of the primary temperature stnadard to the working standards within research institutions and industry. | 19584 | 85.89 | 5.89 | 35 | 45 | 85.89 | 100% | 100% | www.fe.uni-lj.si | 100% | P2-0225 | Janko Drnovšek
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 18 | P2-0246 | Boštjan Batagelj | 18174 | Optični spektralni analizator | 2002 | Ando AQ 6317B | 50075.11 | Paket 11 |  | spectrum measurement in the wavelength range 600 nm - 1750 nm | High-accuracy and high-resolution optical spectrum analyzer for evaluating D-WDM systems and components. |  | 19660, 19661, 19662 | 87.9 | 7.9 | 35 | 45 | 87.9 | 100% | 100% | www.fe.uni-lj.si | 100% | P2-0246 | Sašo Tomažič
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 25 | P2-0225 | Janko Drnovšek | 10774 | Naprava za realizacijo temperaturne fiksne točke bakra | 2001 |  | 68853.275 | Paket 10 | gre za peč, ki deluje skupaj z opremo iz točke 4 |  |  |  | 17578, 17579, 17713, 17926 | 88.1 | 8.1 | 35 | 45 | 88.1 | 100% | 100% | www.fe.uni-lj.si | 100% | P2-0225 | Janko Drnovšek
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 25 | P2-0225/ IP-0510 | Janko Drnovšek | 10774 | Rosiščni senzor | 2002 | Precision dew-point sensor, MBW 373H | 46945.425 | Paket 10 | Inštrument je mogoče uporabiti v okviru prenosa vrednosti primarnega etalona na najvišjem metrološkem nivoju (medlaboratorijska primerjava). Zaradi pogoste uporabe inštrumenta je nujen vnaprejšen dogovor glede časovne uporabe. Cena uporabe se oblikuje na podlagi ur delovanja ter ekspertnih ur upravljalca instrumenta s strani skrbnika opreme. | The instrument can be shared in a scope of transfer of primary standard value at the highest metrological level (interlaboratory comparison). Due to frequent use, the external use of the instrument shall be agreed upon long time in advance. The cost of the external use is based on the working time of the instrument and expert hours of the operator. | Instrument služi kot posredniški etalon. Z njim se prenaša vrednost primarnega etalona vlage na delovne etalone v raziskovalnih inštitucijah in industriji. | The instrument serves as a transfer standard. It is used to disseminate the value of the primary humidity stnadard to the working standards within research institutions and industry. | 18761 | 85.52 | 5.52 | 35 | 45 | 85.52 | 100% | 100% | www.fe.uni-lj.si | 100% | P2-0225 | Janko Drnovšek
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 4 | P2-0249 / IP-0510 | Damijan Miklavčič | 10268 | Sistem za ultra hitro fluorescenčno mikroskopijo in spektroskopijo | 2005 | System for ultra-fast fluorescence microscopy and spectroscopy | 83458.52 | Paket 12 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. Del opreme (hitra kamera) je vezan na fluorescenčni mikroskop, ki je dostopen zunanjim RO le v poznih popoldanskih in večernih urah ter ob vikendih. Uporaba preostalega dela opreme (spektrofluorometer) je možna po predhodnem dogovoru. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. Part of the system (ultra-fast camera) is connected to the fluorescence microscope, which is available to external RO only on late afternoons, evenings and weekends. The remaining component of the system (spectrofluorometer) is available upon request. | Visoka občutljivost ultra-hitre kamere omogoča opazovanje hitrih sprememb fizioloških procesov, ki nastopijo ob izpostavitvi celice električnemu polju (pojav vsiljene transmembranske napetosti, pretok ionov skozi membrano, ...) z zadovoljivo prostorsko in visoko časovno ločljivostjo. S spektrofluorometrom merimo fluorescenco celotne populacije celic, s tem pa neposredno dobimo podatek o povprečnem vnosu v celico. | The sensitivity of the ultra-fast camera allows the observations of rapid changes of physiological processes, which occur when the cell is placed into an electric field (induced transmembrane voltage, the transport of molecules through the membrane,...) with sufficient spatial and high temporal resolution. With spectrofluorometer the fluorescence of the population of cells is measured, thereby obtaining the average transport into a single cell. | 22991, 22992, 22995, 23245 | 89.82 | 9.82 | 35 | 45 | 89.82 | 100% | 100% | http://lbk.fe.uni-lj.si/index_si.htm | 100% | IP-0510 |  |  | J2-9770 | Mojca Pavlin |  | J2-9764 | Damijan Miklavčič |  | Z2-9229 | Gorazd Pucihar
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 30 | P2-0197 | Marko Topič | 12609 | Merilnik UV/VIS/NIR transmisije in refleksije | 2004 | UV/Vis/NIR Spectrophotometer | 80954.77 | Paket 12 | Merilnik se nahaja v Laboratoriju za fotovoltaiko in optoelektroniko. Za možnost karakterizacijo vzorcev kontaktirajte predstojnika LPVO prof. dr. Marka Topiča. Glede na intenzivno uporabo merilnika za lastne RR potrebe je uporaba možna le v poznih popoldanskih terminih. | Measurement set-up is located in Laboratory of Photovoltaics and Optoelectronics. To characterize samples the head of LPVO prof. dr. Marko Topic should be contacted. | Merjenje direktne in totalne transmisije in refleksije v valovnem območju od 200 do 3300 nm. | Measurement of direct and total transmission and reflection in the wavelength range from 200 to 3300 nm. | 21277 | 89.52 | 9.52 | 35 | 45 | 89.52 | 100% | 100% | www.fe.uni-lj.si | 100% | P2-0197 | Marko Topič | 50% | J2-0851 | Janez Krč | 20% | FP7 SILICON_Light | Jurij Kurnik | 10% | FP7 SOLAMON | Marko Berginc | 20%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 25 | P2-0225 | Janko Drnovšek | 10774 | Precizijski uporoni izmenični mostilček | 2004 | automatic resistance bridge ASL F900 | 75638.46 | Paket 12 | Inštrument je mogoče uporabiti v okviru prenosa vrednosti primarnega etalona na najvišjem metrološkem nivoju (medlaboratorijska primerjava). Zaradi pogoste uporabe inštrumenta je nujen vnaprejšen dogovor glede časovne uporabe. Cena uporabe se oblikuje na podlagi ur delovanja ter ekspertnih ur upravljalca instrumenta s strani skrbnika opreme. | The instrument can be shared in a scope of transfer of primary standard value at the highest metrological level (interlaboratory comparison). Due to frequent use, the external use of the instrument shall be agreed upon long time in advance. The cost of the external use is based on the working time of the instrument and expert hours of the operator. | Instrument se uporablja za precizijsko merjenje upornosti uporovnih termometrov (negotovost 20 ppb) v območju med 0 in 420 ohmov. | The instrument is used for precise measurement of resistance of platinum resistance thermometers (uncertainty 20 ppb) in the range between 0 and 420 ohms. | 21435/1, 22589 | 88.9 | 8.9 | 35 | 45 | 88.9 | 100% | 100% | www.fe.uni-lj.si | 100% | P2-0225 | Janko Drnovšek
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 8 | P2-0219 | Borut Zupančič | 172 | Eksperimentalno okolje za študij naprednih metod vodenja | 2004-2005 | Experimental environment for studying of advanced control methods | 70132.05 | Paket 12 | Oprema je ob delavnikih pogosto v uporabi v raziskovalne namene. Po 16 uri ali ob vikendih bi jo bilo možno uporabljati po predhodnem dogovoru. | Equipment is during working days usually used in research work. After 4 pm or during weekends it can be available for use with in advance arrangements. | Raziskovalna oprema je namenjena raziskovanju na področju modeliranja, simulacije in vodenja različnih tipov procesov. Omogoča študij najsodobnejših načinov vodenja hitrih mehanskih sistemov in procesnih sistemov v realnem času. Oprema se uporablja tudi v okviru različnih raziskovalnih projektov ter za namene študija na diplomskem, magistrskem, specialističnem in doktorskem študiju. | Research equipment is intended for the area of modelling, simulation and control. It enables the studying of advanced control systems for mechanical and process plants in real time. The equipment is used in conjunction with different research projects and also in conjunction with undergraduate, magister, specilistic and doctotal study. | 22077, 21456, 21457, 22432, 20952, 21279, 22224, 22225, 22226, 22248, 22249, 22250, 22251, 22252 | 88.25 | 8.25 | 35 | 45 | 88.25 | 100% | 100% | www.fe.uni-lj.si | 100% | P2-0219 | Rihard Karba | 40% | J2-2310-1538 | Igor Škrjanc | 10% | bilatralna sodelovanja s: Madžarsko, Romunijo | Belič, Škrjanc | 20% | Projekti mladih raziskovalcev | Mladi raziskovalci 28468 Teslić, 30681 Dovžan, 29552 Sodja, 31982 Bošnak, Zdešar | 30%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 24 | P2-0228 | Marko Munih | 7134 | Haptični robot z razvojno programsko opremo 1. Cilindični haptični robot FCS HapticMaster s krmilnikom, merilnim zapestjem in programsko opremo 2. Merilne kartice MeasurementComputing: PCI-DAS1602/16 AI/O, PCI-DDA08/16 AO, 2 X PCI-QUAD04 3. 2X PC | 2005 | Haptic robot with software 1. Cilindrical haptic robot HapticMaster with controler, measurement wrist and software 2. Measurement boards DDA08/16 AO, 2 X PCI-QUAD04 3. 2X PC | 64694.21 | Paket 12 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | To je haptični robot primeren za rehabilitacijo roke, ustrezen je kot odprta arhitektura tudi za študij in poučevanje vodenja haptičnih robotov. | This is haptical robot for rehablitation of human ar. Also suitable as open control arhitecture for studies and teaching of haptic robot control. | 21674, 21676, 21743, 21746 | 87.61 | 7.61 | 35 | 45 | 87.61 | 100% | 100% | robo.fe.uni-lj.si | 100% | Več dr., mag. In dipl. nalog. |  |  | P2-0228 | Tadej Bajd |  | FP5 - I-Match |  |  | FP7 - MIMICS
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 29 | P2-0244 | Slavko Amon | 1926 | Sistem za pridobivanje ultra čiste vode | 2004 | System for production of ultra pure dionized water (UPW) | 63097.56 | Paket 12 | Sistem je fiksno postavljen in vključen v distribucijsko zanko čistih prostorov. Produkt, DI voda je zato dostopen pod omejenimi pogoji zainteresiranim partnerjem. | System is permanently installed and connected to the closed supply loop of cleanroom facility. Deionized water as a producto of the system is available to other institutions | Sistem je namenjen pridobivanju izredno čiste deionizirane vode za potrebe mikroelektronskih procesov. Ustreza standardu E2. | System for laboratory production of dionized water used in microelectronic processing. Complies with E2 standard. | 21333 | 87.42 | 7.42 | 35 | 45 | 87.42 | 100% | 100% | www.fe.uni-lj.si | 100% | P2-0244 | Slavko Amon |  | 30683 Pečar Borut MR |  |  | L2-0186 | Marina Santo Zarnik |  | L3-0309 | Roman Bošnjak
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 24 | P2-0228 | Marko Munih | 7134 | Industrijski robotski sistem s simulacijsko in razvojno programsko opremo 1. Antropomorfni robot ABB IRB 140 s krmilnikom S4Cplus in učno enoto 2. Razvojna programska oprema 3. Vhodno/izhodni vmesniški enoti DSQC 355 in DSQC 354 4. | 2006 | Industrial robot with accompaning simulation software 1. Antropomorphic arm ABB IRB 140 with controler S4Cplus with teach unit 2. Robot Studio software 3. DSQC 355 and DSQC 354 | 58889.75 | Paket 12 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | To je sodoben industrijski robot. Namen te celice je uporaba offline programiranja za načrtovanje navideznega okolja in definiranje robotskega programa, potem pa prenos v robota za izvršitev in končne prilagoditve. | This si a modern industrial robot. The aim of this robotic cell is use of offline programming for definition of environment and the robot program, followed with transfer to robot cotroller for execution and final adjustments. | FE 022467 | 86.93 | 6.93 | 35 | 45 | 86.93 | 100% | 100% | robo.fe.uni-lj.si | 100% | Več dr., mag. In dipl. nalog. |  |  | P2-0228 | Tadej Bajd |  | industrijski projekti
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 24 | P2-0228 | Marko Munih | 7134 | Optični merilni sistem za brezkontaktno merjenje kinematičnih parametrov gibanja, Optotrak | 2007 | Optical measurement system for contactless acquisition of kinematic parameters, Optotrak | 115355 | Paket 13 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | Gre za sistem kamer in aktivnih markerjev, ki omogoča zajemanje 3D koordinat markerjev s 3D točnostjo +-0.3 mm v volumnu prostora s stranico več metrov. Možno je istočasno merjenje in posredovanje izmerjenih vrednosti drugim klientom in na ta način zaprtozančno vodenje. | This is a system with cameras and active markers, for acquisition of 3D marker coordinates with 3D accuracy 0.3 mm in a volume with one side of several meters. Possible is simultaneous acquisition and transfer to other clients for real time feedback control. | 24637 | 93.57 | 13.57 | 35 | 45 | 93.57 | 100% | 90% | robo.fe.uni-lj.si | 100% | Več dr., mag. In dipl. nalog. |  |  | P2-0228 | Tadej Bajd |  | FP6 - Alladin |  |  | FP7 - MIMICS
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 27 | P2-0232/ IP-0510 | Franjo Pernuš | 6857 | Sistem z NIR spektralno kamero | 2008 | System with NIR hyperspectral camera | 62594 | Paket 13 | Po dogovoru - odvisno od trenutnega poteka razsikav | As agreed upon requests - depends on the current experiments | Zajemanje NIR hiperspektralnih slik | Acquisition of NIR hyperspectral images | 25320, 25321, 25322, 25323, 25627, 25626 | 87.36 | 7.36 | 35 | 45 | 87.36 | 100% | 67% | www.fe.uni-lj.si | 100% | L2-7381 | Boštjan Likar |  | L2-9758 | Boštjan Likar |  | L2-2023 | Boštjan Likar |  | P2-0232 | Franjo Pernuš
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 25 | P2-0225 | Janko Drnovšek | 10774 | Sistem za realizacijo nove mednarodne temperaturne lestvice | 2007-2008 | system for the realization of new temperature scale | 75000 | Paket 13 | Inštrument je mogoče uporabiti v okviru prenosa vrednosti primarnega etalona na najvišjem metrološkem nivoju (medlaboratorijska primerjava). Zaradi pogoste uporabe inštrumenta je nujen vnaprejšen dogovor glede časovne uporabe. Cena uporabe se oblikuje na podlagi ur delovanja ter ekspertnih ur upravljalca instrumenta s strani skrbnika opreme. | The instrument can be shared in a scope of transfer of primary standard value at the highest metrological level (interlaboratory comparison). Due to frequent use, the external use of the instrument shall be agreed upon long time in advance. The cost of the external use is based on the working time of the instrument and expert hours of the operator. | Sistem služi za realizacijo ter spremljanje le-te različnih fiksnih točk. Z njim se prenaša vrednost primarnega etalona temperature na delovne etalone v raziskovalnih inštitucijah in industriji. | The system is used for realization and monitoring of the realization of different fixed points. It is used to disseminate the value of the primary temperature stnadard to the working standards within research institutions and industry. | 24343, 24721, 26216, 26217, 26663, 25942, 25943 | 88.82 | 8.82 | 35 | 45 | 88.82 | 100% | 57% | www.fe.uni-lj.si | 100% | P2-0225 | Janko Drnovšek
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 29 | P2-0244 | Slavko Amon | 1926 | Elipsometrični merilnik tankih plasti | 2007-2008 | Spektroskoptični elipsometer (angl. spectroscopic ellipsometer) SpecEL-2000-VIS z dodatkom za analizo plinov Micro GC 3000 A (leto 2008) | 78000 | Paket 13 | Oprema je nameščena v čistih prostorih in je pod ustreznimi pogoji dostopna tudi drugim raziskovalnim organizacijam | The equipment is installed in clean room environment and is accessible also to other research institutions. | Karakterizacija (debeline, lomni količnik) tankoplastnih transparentnih filmov | Characterization of transparent thin films (thickness, refractive index). | 24609, 25950 | 89.18 | 9.18 | 35 | 45 | 89.18 | 100% | 81% | www.fe.uni-lj.si | 100% | P2-0244 | Slavko Amon |  | 30683 Pečar Borut MR |  |  | L2-0186 | Marina Santo Zarnik |  | L3-0309 | Roman Bošnjak
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 4 | P2-0249 / IP-0510 | Damijan Miklavčič | 10268 | Sistem za merjenje nanosekundnih visokonapetostnih električnih pulzov | 2007 | System for measurement of nanosecond high-voltage electric pulses | 75000 | Paket 13 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. Uporaba opreme (tako osciloskopa kot šritih pripadajočih sond) je mogoča po predhodnem dogovoru. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. The system (the oscilloscope and/or the four probes) is available upon request. | Z osciloskopom je mogoče sočasno na štirih vhodnih kanalih opazovati pulze z manj kot nanosekundnim dvižnim časom. S pripadajočimi specializiranimi sondami (diferencialna, visokonapetostna in dve aktivni sondi) lahko merimo različne tokovne in napetostne parametre takšnih pulzov. | The oscilloscope allows for simultaneous four-channel monitoring of electric pulses with subnanosecond risetimes. The specialized probes that are part of the system (a differential probe, a high-voltage probe, and two active probes) enable the measurements of various current and voltage parameters of such pulses. | 16897, 17001, 24643, 24644 | 88.82 | 8.82 | 35 | 45 | 88.82 | 100% | 83% | www.fe.uni-lj.si | 100% | Z2-7046 | Damijan Miklavčič |  | Z2-2025 | Matej Reberšek |  | – |  |  | –
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 13 | P2-0219 | Drago Matko | 1951 | Raziskovalno okolje za študij naprednih metod v mobilni robotiki | 2007-2008 | Research environment for study of advanced methods in mobile robotics | 74900 | Paket 13 | Oprema je v delovnem času (8:00 -16:00) pogosto v uporabi za raziskovalne skupine. Možnost dostopa bi tako bila le v popoldanskih urah oziroma izjemoma po vnaprejšnjem dogovoru. | Equipment is in use during working hours (8:00-16:00) by the members of research group. Therefore it is only available in the afternoon hours or otherwise if arranged. | Raziskovalna oprema je namenjena raziskovanju na področju mobilne robotike, kjer gre za metode vodenja, zaznavanja, razpoznavanje okolice in večagentne sisteme. Oprema se je in se uporablja tudi v okviru različnih raziskovalnih projektov ter za namene študija na diplomskem, podiplomskem študiju in doktorskem študiju. | Research equipment is intended for research in mobile robotics area such as: control methods, detection and recognition of the environment and multiagent systems. Equipment was and is in use also in different research projects and for study purposes of graduate, postgraduate and Ph.D study. | 24837, 24841, 24041, 24900, 25922, 25925 | 88.76 | 8.76 | 35 | 45 | 88.76 | 100% | 85% | www.fe.uni-lj.si | 100% | P2-0219 | Rihard Karba | 30% | CO vesolje, znanost, tehnologija | Matko, Mušič, Klančar | 10% | bilatralna sodelovanja z Romunijo in Kitajsko | Matko, Blažič | 10% | Projekti mladih raziskovalcev | Mladi raziskovalci 28468 Teslić, 30681 Dovžan, 29552 Sodja, 31982 Bošnak, Zdešar | 50%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 30 | P2-0197 | Marko Topič | 12609 | Merilnik učinkovitosti pretvorbe sončnih celic s sončnim simulatorjem | 2007 | Solar Simulator AM1.5 | 99553 | Paket 13 | Merilnik se nahaja v Laboratoriju za fotovoltaiko in optoelektroniko. Za možnost karakterizacijo vzorcev kontaktirajte predstojnika LPVO prof. dr. Marka Topiča. Glede na intenzivno uporabo merilnika za lastne RR potrebe je uporaba možna le v poznih popoldanskih terminih. | Measurement set-up is located in Laboratory of Photovoltaics and Optoelectronics. To characterize samples the head of LPVO prof. dr. Marko Topic should be contacted. | Merjenje učinkovitosti pretvorbe pod umetnim soncem spektra AM1.5. | Measurement of conversion efficiency under solar irradiance AM1.5 | 24616, 24617, 24621 | 91.71 | 11.71 | 35 | 45 | 91.71 | 100% | 85% | www.fe.uni-lj.si | 100% | P2-0197 | Marko Topič | 30% | J2-0851 | Janez Krč | 10% | FP7 SILICON_Light | Jurij Kurnik | 20% | FP7 SOLAMON | Marko Berginc | 40%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 3 | P2-0246 | Jurij F.Tasič | 1075 | Enota za razvoj in vertifikacijo kvalitete interaktivnih večpredstavnih storitev | 2007 |  | 71000 | Paket 13 | Oprema se nahaja v Laboratoriju za digitalno obdelavo signalov, slik in videa, Fakulteza za elektrotehniko, Univerza v Ljubljani. Za uporabo kontaktirajte predstojnika LDOS prof. dr. Jurija F. Tasiča. Na voljo izven rednega delovnega časa. | The equipment is located in Digital Signal, Image and Video Processing Laboratory, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. dr. Jurij F. Tasič. Availability out of regular working hours. | V sestavu razpolagamo s sistemom za nelinearno urejanje video gradiva, sistemom za urejanje multimedijskih gradiv, DVB predvajalnim (playout) studiom, testnimi DVB sprejemniki ter s strežniki interaktivnih multimedijskih storitev. | The system consistes of nonlinear video editing system, multimedia production system, DVB playout studio, DVB test receivers and servers for interactive media services. | 24739, 24740, 24308, 24322, 24750, 24852, 24880 | 88.35 | 8.35 | 35 | 45 | 88.35 | 100% | 84% | www.fe.uni-lj.si | 100% | IST-4-027866 ELU (Enhanced Learning Unlimited) |  |  | IST-02731 LIVE (Live staging of media events) |  |  | P2-0246 ( | Sašo Tomažič |  | IST-044985 VICTORY (Audio-VIsual ConTent search and retrieval in a distributed P2P repositORY)
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 4 | P2-0249 / IP-0510 | Damijan Miklavčič | 10268 | Sistem za dinamično mikroskopsko slikanje | 1999 | System for dynamic microscopic imaging | 75113 | Paket 10 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. Fluorescenčni mikroskop je močno zaseden in dostopen zunanjim RO le v poznih popoldanskih in večernih urah ter ob vikendih. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. The fluorescence microscope is only available to external RO on late afternoons, evenings and weekends. | Sistem je sestavljen iz invertnega fluorescenčnega mikroskopa Zeiss AxioVert 200, CCD kamere z visoko ločljivostjo in monokromatorja, ki omogoča izbiro poljubne valovne dolžine v vidnem spektru. Programska oprema, ki je prav tako del sistema (MetaMorph in MetaFluor), omogoča zajemanje, analizo in obdelavo zajetih slik. | The system consists of the Zeiss AxioVert 200 inverted fluorescence microscope, a high-resolution CCD camera and a monochromator allowing for selection of an arbitrary wavelength within the optical spectrum. The software that is also a part of the system (MetaMorph and MetaFluor) allows for image acquisition, analysis and processing. | 18452 | 88.84 | 8.84 | 35 | 45 | 88.84 | 100% | 100% | http://lbk.fe.uni-lj.si/index_si.htm | 100% | IP-0510 |  |  | Z2-7046 | Damijan Miklavčič |  | J2-9764 | Damijan Miklavčič |  | Z2-9229 | Gorazd Pucihar
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  | P2-0249 | Damijan Miklavčič | 10268 | Visokonapetostni elektroporator z več ločenimi izhodi | 2009 | Highvoltage electroporator with multiple isolated outputs | 132000 | Paket 14 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. | Visokonapetostni generator električnih pulzov služi za dovajanje vioskonapetostnih pulzov do 3kV. | High voltage generator of electric pulses is used for application of high voltage electric pulses up to 3kV. | 27729 | 95.5294 | 15.5294 | 35 | 45 | 95.5294 | 100% | 37% | http://lbk.fe.uni-lj.si/index_si.htm | 100% | IP-0510
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  | P2-0246 | Janez Bešter | 4546 | Testni protokolni simulacijski sistem | 2009 | Scalable network testing equipment | 137500 | Paket 14 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran. Odvisen je od trenutne zasedenosti, potrebna je predhodna uskladitev. Cena po dogovoru. Kontakt: prof. Andrej Kos. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. Price is agreed. Contact prof. Andrej Kos | Spirent Test Center omogoča izvajanje širokega nabora skladnostnih (angl. conformance), zmogljivostnih (angl. performance), funkcionalnih (angl. functional) in primerjalnih (angl. benchmark) testov ter emulacijo protokolov, strežnikov in odjemalcev. Vključuje 12 GE optičnih in električnih vmesnikov in omogoča izvajanje meritev in testov za protokole, ki bazirajo na Ethernet, IPv4 in IPv6. Oprema je skalabilna in podpira širok spekter telekomunikacijskih protokolov in zmogljivosti (OSI ravnine 2 do 7). | Spirent Test Center enables a wide range of conformance, performance, functional and benchmark tests. System supports protocol, server and client emulation. Hardware platform includes 12 GE optical and electrical interfaces and allows measurements and testing of protocols which are based on Ethernet, IPv4 and IPv6. The equipment is scalable and supports a broad range of telecommunications protocols and capabilities (OSI plane 2to 7). | 28198 | 96.1765 | 16.1765 | 35 | 45 | 96.1765 | 100% | 25% | http://testcenter.ltfe.org/ | 100% | P2-0246 (C) | Sašo Tomažič | 30% | RIP-09-PBP4G-2009-01 | Janez Bešter | 20% | Testiranje MLPPP S1370; | Andrej Kos | 20% |  |  |  | laboratorijske vaje, magisteriji,diplomske naloge | Janez Bešter | 30%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  | P2-0246 | Janez Bešter | 4546 | Sistem za analizo kakovosti signalov v profesionalnih video produkcijskih, predvajalnih in prenosnih sistemih | 2010 | Analyzing system of quality of signals in professional video production, broadcast and transmission systems | 143244 | Paket 14 | Sistem za analizo kakovosti signalov se nahaja v Laboratoriju za telekomunikacije (LTFE) in je v uporabi ves čas delovnika laboratorijskega osebja in deloma izven tega časa. Dostopen je po dogovoru z vodjo Multimedijskega centra LTFE, Klemnom Pečnikom. | System for the video production signal quality analysis is located in the Laboratory for Telecommunications (LTFE) and is in use throughout the laboratory staff working hours and partly outside this time. It is available by arrangement with the Head of Multimedia Centre of LTFE (Klemen Pečnik). | Sistem omogoča zajemanje in digitalizacijo video signalov v profesionalnih produkcijskih in predvajalnih sistemih, izvor visoko kakovostnih digitaliziranih video signalov, implementacijo metapodatkov, kodiranje/kompresijo video signalov po standardih, merjenje in analizo kompresiranih in multipleksiranih video signalov ter merjenje in analizo moduliranih signalov. | The system enables users to capture and digitize video signals in a professional production and playout systems, to implement a metadata and to measure and analyze the compressed, multiplexed and modulated video signals. It is the source of high quality digital video signals and allows standard-based coding / compression and measuring. | FE028904, FE028905, FE028906, FE028907, FE028908, FE028909, FE028910, FE028911, FE028912, FE028913, FE028914, FE028915, FE028916, FE028917, FE028918, FE028919, FE028920, FE028921, FE028922, FE028923, FE028924, FE028925, FE028926, FE028927, FE028928, FE028929, FE028930 | 96.8522 | 16.8522 | 35 | 45 | 96.8522 | 100% | 17% | http://www.ltfe.org | 100% | P2-0246 | Sašo Tomažič | 50% | S1286 (SIP klient za IPTV) | Kos Andrej | 20% | [6 empty] | laboratorijske vaje, doktorska naloga,diplomske naloge | Janez Bešter | 30%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  | P2-0228 | Marko Munih | 7134 | Dvoročni telerobotski sistem za raziskave v medicini in industriji: dva 6DOF antropomorfni robota Motoman MH5L, dva haptična robota Force Dimension, tip Omega.7, senzorji sil, spremljajoči računalniki. | 2009 | Bimanual telerobotic system for research in medicine and industry: two 6DOF antropomorphic robots Motoman MH5L, two haptic robots Force Dimension, type Omega.7, force sensors, associated computers. | 125730 | Paket 14 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | Sistem je sestavljen iz štirih sklopov, dveh industrijskih robotov Motoman MH5L in dveh haptičnih vmesnikov Force Dimension tip Omega.7. MH5L robota imata skupen industrijski krmilnik in vse s tem povezane funkcionalnosti. Na obeh močnostnih delih je možen tudi preklop in vodenje s posebnim industrijskim PC. Tako je možen vpliv na vse parametre, implementacija lastnih algoritmov vodenja ter razne telerobotske funkcije dvoročnega sistema (dveh parov robotov). | System has four mani components: two industrial robots Motoman MH5L and two haptic robots Forece Dimension, type Omega.7. MH5L robots have common industrial controller and all associated functionalities. Both could be also switched to dedidated industrial PC. All parameters could be varied, implementation of new control algorithms is easy, including various modes of telerobotic of bimanual operation (two pairs of robots). | FE 028326 FE 028127 FE 028128 | 94.79 | 14.79 | 35 | 45 | 94.79 | 100% | 36% |  | 100% | Več dr., mag. In dipl. nalog. |  | 50% | P2-0228 | Tadej Bajd | 50%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  | P2-0179 | Marko Topič | 12609 | Sistem za vrednotenje gradnikov PVS | 2010 | PVS component evaluation set-up | 99600 | Paket 14 | Sistem za vrednotenje gradnikov PVS se nahaja v Laboratoriju za fotovoltaiko in optoelektroniko. Za možnost vrednotenja kontaktirajte predstojnika LPVO prof. dr. Marka Topiča. Glede na intenzivno uporabo merilnika za lastne RR potrebe je uporaba možna le v poznih popoldanskih terminih. | PVS component evaluation set-up is located in Laboratory of Photovoltaics and Optoelectronics. To evaluate components the head of LPVO prof. dr. Marko Topic should be contacted. | Testiranje izolacijske upornosti PV modulov, testiranje PV modulov pod različnimi klimatskimi pogoji, vrednotenje učinkovitosti razsmernikov. | Isolation resistivity test of PV modules, climate chamber testing of PV modules, conversion efficiency measurement of inverters. | 27948, 27726, 27947 | 91.72 | 11.72 | 35 | 45 | 91.72 | 100% | 25% | www.fe.uni-lj.si | 100% | P2-0197 | Marko Topič | 20% | J2-0851 | Janez Krč | 0% | FP7 SILICON_Light | Janez Krč, Jurij Kurnik | 50% | FP7 SOLAMON | Mateja Hočevar | 30%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  | P2-0179 | Marko Topič | 12609 | Razvojno okolje tankoplastne fotovoltaike | 2010 | Thin film PV technology set-up | 99376.8 | Paket 14 | Razvojno okolje se nahaja v Laboratoriju za fotovoltaiko in optoelektroniko. Za možnost uporabe razvojnega okolja kontaktirajte predstojnika LPVO prof. dr. Marka Topiča. Glede na intenzivno uporabo razvojnega okolja za lastne RR potrebe je uporaba možna le v poznih popoldanskih terminih. | Thin film PV technology set-up is located in Laboratory of Photovoltaics and Optoelectronics. To use the set-up the head of LPVO prof. dr. Marko Topic should be contacted. | Uporaba inertne komore za postopke nanašanja brez prisotnosti vlage ali kisika, kapljični tiskalnik za nanašanje anorganskih ali organskih past/plasti. | Inertial chamber (N2) for deposition steps without presence of humidity or oxygen) and ink-jet printer for depostion of inorganic or organic inks to layers. | 27949 | 91.69 | 11.69 | 35 | 45 | 91.69 | 100% | 30% | www.fe.uni-lj.si | 100% | P2-0197 | Marko Topič | 40% | J2-0851 | Janez Krč | 40% | FP7 SILICON_Light |  | 0% | FP7 SOLAMON | Mateja Hočevar | 20%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  | P2-0246 | Matjaž Vidmar | 5967 | Mikrovalovni vektorski analizator vezij do 67 GHz | 2010 | Vector Network Analyzer up to 67 GHz | 235976.4 | Paket 14 | Merilno okolje se nahaja v Laboratoriju za sevanje in optiko. Za morebitne meritve kontaktirajte dr. Boštjana Batagelja. | The Vector Network Analyzer set-up is located in the Radiation and Optics Laboratory. To measure microwave circuits Bostjan Batagelj should be contacted. | Meritve linearnih in nelinearnih ojačevalnikov in mešalnikov. Meritve šumnega števila. Meritve anten. | Linear and nonlinear amplifier and mixer measurements.Noise figure measurements. Antenna measurements. | 29089 | 107.76 | 27.76 | 35 | 45 | 107.76 | 100% | 15% | antena.fe.uni-lj.si | 100% | S-1259 | raziskovalci | 100%
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  | P2-0232/ IP-0510 | Franjo Pernuš | 6857 | Sistem za hiperspektralno zajemanje slik na mikro in makro nivoju | 2010 | A system for the acquisition of hyperspectral images on micro and macro levels | 87976 | Paket 14 | Po dogovoru - odvisno od trenutnega poteka razsikav | As agreed upon requests - depends on the current experiments | Zajemanje hiperspektralnih slik | Acquisition of hyperspectral images |  | 90.35 | 10.35 | 35 | 45 | 90.35 | 100% | 16% | www.fe.uni-lj.si | 100%
Ime odgovornega računovodje: Marija Žerovnik | [5 empty] | Ime zakonitega zastopnika/pooblaščene osebe raziskovalne organizacije: rektor prof. dr. Radovan Stanislav Pejovnik, po pooblastilu dekan UL FE prof. dr. Janez Nastran

## List2
RO | Šifra RO | Šifra RS | Šifra PS / IS | SKRBNIK OPREME | Šifra skrbnika | NAZIV OPREME | LETO NABAVE | FULL NAME OF EQUIPMENT | NABAVNA VREDNOST (EUR) | Paket | Opišite postopek (čas) in pogoje (cena) dostopa do opreme - do največ 5 stavkov | Offered services | Namembnost opreme in dodatne informacije (največ 5 stavkov) | additional information | Šifra projekta 1 | Šifra projekta 2 | Šifra projekta 3 | Šifra projekta 4 | Inventarna številka
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 4 | P2-0249 / IP-0510 | Damijan Miklavčič | 10268 | Sistem za merjenje in analizo sprememb pasivnih električnih lastnosti bioloških tkiv in celic v suspenziji v časovnem in frekvenčnem prostoru vsled elektroporacije celične membrane | 2003 | System for measurement and analysis of passive electric properties of biological tissues in time and frequency domains after cell membrane electroporation | 82874.31 | Paket 11 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. Uporaba s strani zunanjih RO je možna po predhodnem dogovoru. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. It is available to external RO upon request. | Sistem tvorijo trije sklopi: impedančni analizator visoke ločljivosti, štirikanalni digitalni osciloskop in paket za numerično modeliranje. Omogoča spremljanje električnih lastnosti bioloških celic v suspenziji in njihovih sprememb, do katerih pride ob izpostavitvi električnim pulzom, v realnem času. | The system comprises three components: a high-resolution impedance analyzer, a four-channel digital oscilloscope and a software package for numerical modeling based on the finite-elements method. It allows for real-time monotoring of electric properties of biological cells in suspension and the changes of these properties caused by an exposure to electric pulses. | Z2-6503 | Z2-9661 | – | – | 20041
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 24 |  | Marko Munih | 7134 | Robot s senzorskim sistemom in krmilnikom z odprto arhitekturo | 2002 | Robot with sensory system and open control arhitecture | 67115.05 | Paket 11 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | To je industrijski robot nadgrajen z novim krmilnim sistemom, ki omogoča frekvence zanke do več kHz. To je potrebno za stabilen kontakt robota z okolico, tudi pri kontaktu s človekom. | This is industrial robot, enhanced with new control system allowing loop frequencies of several kHz. This is required for stable of robot with environment, also in contact with human. | Več dr., mag. In dipl. nalog. | P2-0228 | FP5 - GENTLE/S | FP5 - I-Match | 19282
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 25 |  |  |  | Realizacija temperaturne fiksne točke bakra |  | system for realization of freezing point of copper (fixed point cell + furnace) | 50075.11 | Paket 11 | Inštrument je mogoče uporabiti v okviru prenosa vrednosti primarnega etalona na najvišjem metrološkem nivoju (medlaboratorijska primerjava). Zaradi pogoste uporabe inštrumenta je nujen vnaprejšen dogovor glede časovne uporabe. Cena uporabe se oblikuje na podlagi ur delovanja ter ekspertnih ur upravljalca instrumenta s strani skrbnika opreme. | The instrument can be shared in a scope of transfer of primary standard value at the highest metrological level (interlaboratory comparison). Due to frequent use, the external use of the instrument shall be agreed upon long time in advance. The cost of the external use is based on the working time of the instrument and expert hours of the operator. | Instrument služi za realizacijo točke strdišča bakra Z njim se prenaša vrednost primarnega etalona temperature na delovne etalone v raziskovalnih inštitucijah in industriji. | The instrument serves for realization of freezing point of copper. It is used to disseminate the value of the primary temperature stnadard to the working standards within research institutions and industry.
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 18 | P2-0246 | Boštjan Batagelj | 18174 | Optični spektralni analizator | 2002 | Ando AQ 6317B | 50075.11 | Paket 11 | 100 EUR/dan | spectrum measurement in the wavelength range 600 nm - 1750 nm | High-accuracy and high-resolution optical spectrum analyzer for evaluating D-WDM systems and components. | [5 empty] | 19662
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  |  | Marko Munih |  | Robot s senzorskim sistemom in krmilnikom z odprto arhitekturo |  |  | 83893.825 | Paket 10 | Vsebina zgleda ista kot zgoraj v vrstici 3
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  |  |  |  | Naprava za realizacijo temperaturne fiksne točke bakra |  |  | 68853.275 | Paket 10 | gre za peč, ki deluje skupaj z opremo iz točke 4
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  |  |  |  | Optični spektralni analizator |  |  | 68853.275 | Paket 10
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 |  |  | Univerza v Ljubljani, Fakulteta za elektrotehniko, Laboratorij za metrologijo in kakovost |  | Rosiščni senzor | 2002 | Precision dew-point sensor, MBW 373H | 46945.425 | Paket 10 | Inštrument je mogoče uporabiti v okviru prenosa vrednosti primarnega etalona na najvišjem metrološkem nivoju (medlaboratorijska primerjava). Zaradi pogoste uporabe inštrumenta je nujen vnaprejšen dogovor glede časovne uporabe. Cena uporabe se oblikuje na podlagi ur delovanja ter ekspertnih ur upravljalca instrumenta s strani skrbnika opreme. | The instrument can be shared in a scope of transfer of primary standard value at the highest metrological level (interlaboratory comparison). Due to frequent use, the external use of the instrument shall be agreed upon long time in advance. The cost of the external use is based on the working time of the instrument and expert hours of the operator. | Instrument služi kot posredniški etalon. Z njim se prenaša vrednost primarnega etalona vlage na delovne etalone v raziskovalnih inštitucijah in industriji. | The instrument serves as a transfer standard. It is used to disseminate the value of the primary humidity stnadard to the working standards within research institutions and industry. |  |  |  |  | SŠ: 01-1108
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 4 | P2-0249 / IP-0510 | Damijan Miklavčič | 10268 | Sistem za ultra hitro fluorescenčno mikroskopijo in spektroskopijo | 2005 | System for ultra-fast fluorescence microscopy and spectroscopy | 83458.52 | Paket 12 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. Del opreme (hitra kamera) je vezan na fluorescenčni mikroskop, ki je dostopen zunanjim RO le v poznih popoldanskih in večernih urah ter ob vikendih. Uporaba preostalega dela opreme (spektrofluorometer) je možna po predhodnem dogovoru. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. Part of the system (ultra-fast camera) is connected to the fluorescence microscope, which is available to external RO only on late afternoons, evenings and weekends. The remaining component of the system (spectrofluorometer) is available upon request. | Visoka občutljivost ultra-hitre kamere omogoča opazovanje hitrih sprememb fizioloških procesov, ki nastopijo ob izpostavitvi celice električnemu polju (pojav vsiljene transmembranske napetosti, pretok ionov skozi membrano, ...) z zadovoljivo prostorsko in visoko časovno ločljivostjo. S spektrofluorometrom merimo fluorescenco celotne populacije celic, s tem pa neposredno dobimo podatek o povprečnem vnosu v celico. | The sensitivity of the ultra-fast camera allows the observations of rapid changes of physiological processes, which occur when the cell is placed into an electric field (induced transmembrane voltage, the transport of molecules through the membrane,...) with sufficient spatial and high temporal resolution. With spectrofluorometer the fluorescence of the population of cells is measured, thereby obtaining the average transport into a single cell. | J1-0200 | J2-9770 | J2-9764 | Z2-9229 | 18452 in 22992
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 30 |  | Marko Topič | 12609 | Merilnik UV/VIS/NIR transmisije in refleksije | 2004 | UV/Vis/NIR Spectrophotometer | 80954.77 | Paket 12 | Merilnik se nahaja v Laboratoriju za fotovoltaiko in optoelektroniko. Za možnost karakterizacijo vzorcev kontaktirajte predstojnika LPVO prof. dr. Marka Topiča. Glede na intenzivno uporabo merilnika za lastne RR potrebe je uporaba možna le v poznih popoldanskih terminih. | Measurement set-up is located in Laboratory of Photovoltaics and Optoelectronics. To characterize samples the head of LPVO prof. dr. Marko Topic should be contacted. | Merjenje direktne in totalne transmisije in refleksije v valovnem območju od 200 do 3300 nm. | Measurement of direct and total transmission and reflection in the wavelength range from 200 to 3300 nm. | R-512 | R-115 | S-611E | S-706E | 212277
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 25 |  |  |  | Precizijski uporoni izmenični mostilček |  | automatic resistance bridge ASL F900 | 75638.46 | Paket 12 | Inštrument je mogoče uporabiti v okviru prenosa vrednosti primarnega etalona na najvišjem metrološkem nivoju (medlaboratorijska primerjava). Zaradi pogoste uporabe inštrumenta je nujen vnaprejšen dogovor glede časovne uporabe. Cena uporabe se oblikuje na podlagi ur delovanja ter ekspertnih ur upravljalca instrumenta s strani skrbnika opreme. | The instrument can be shared in a scope of transfer of primary standard value at the highest metrological level (interlaboratory comparison). Due to frequent use, the external use of the instrument shall be agreed upon long time in advance. The cost of the external use is based on the working time of the instrument and expert hours of the operator. | Instrument se uporablja za precizijsko merjenje upornosti uporovnih termometrov (negotovost 20 ppb) v območju med 0 in 420 ohmov. | The instrument is used for precise measurement of resistance of platinum resistance thermometers (uncertainty 20 ppb) in the range between 0 and 420 ohms.
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 8 |  | Borut Zupančič | 172 | Eksperimentalno okolje za študij naprednih metod vodenja | 2004-2005 | Experimental environment for studying of advanced control methods | 70132.05 | Paket 12 | Oprema je ob delavnikih pogosto v uporabi v raziskovalne namene. Po 16 uri ali ob vikendih bi jo bilo možno uporabljati po predhodnem dogovoru. | Equipment is during working days usually used in research work. After 4 pm or during weekends it can be available for use with in advance arrangements. | Raziskovalna oprema je namenjena raziskovanju na področju modeliranja, simulacije in vodenja različnih tipov procesov. Omogoča študij najsodobnejših načinov vodenja hitrih mehanskih sistemov in procesnih sistemov v realnem času. Oprema se uporablja tudi v okviru različnih raziskovalnih projektov ter za namene študija na diplomskem, magistrskem, specialističnem in doktorskem študiju. | Research equipment is intended for the area of modelling, simulation and control. It enables the studying of advanced control systems for mechanical and process plants in real time. The equipment is used in conjunction with different research projects and also in conjunction with undergraduate, magister, specilistic and doctotal study. | P2-0219 | J1-9438 | bilatralna sodelovanja s: Hrvaško 2004/2005 2007/2008, Francijo 2007/2008, Avstrijo 2007/2008 | Mladi raziskovalci 25418 Karer, 27517 Logar, 28468 Teslić, 30681 Dovžan, Sodja | 22077, 21456, 21457, 22432, 20952, 21279, 22224, 22225, 22226, 22248, 22249, 22250, 22251, 22252
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 24 |  | Marko Munih | 7134 | Haptični robot z razvojno programsko opremo 1. Cilindični haptični robot FCS HapticMaster s krmilnikom, merilnim zapestjem in programsko opremo 2. Merilne kartice MeasurementComputing: PCI-DAS1602/16 AI/O, PCI-DDA08/16 AO, 2 X PCI-QUAD04 3. 2X PC | 2005 | Haptic robot with software 1. Cilindrical haptic robot HapticMaster with controler, measurement wrist and software 2. Measurement boards DDA08/16 AO, 2 X PCI-QUAD04 3. 2X PC | 64694.21 | Paket 12 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | To je haptični robot primeren za rehabilitacijo roke, ustrezen je kot odprta arhitektura tudi za študij in poučevanje vodenja haptičnih robotov. | This is haptical robot for rehablitation of human ar. Also suitable as open control arhitecture for studies and teaching of haptic robot control. | Več dr., mag. In dipl. nalog. | P2-0228 | FP5 - I-Match | FP7 - MIMICS | 21746
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 29 |  |  |  | Sistem za pridobivanje ultra čiste vode |  |  | 63097.56 | Paket 12
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 24 |  | Marko Munih | 7134 | Industrijski robotski sistem s simulacijsko in razvojno programsko opremo 1. Antropomorfni robot ABB IRB 140 s krmilnikom S4Cplus in učno enoto 2. Razvojna programska oprema 3. Vhodno/izhodni vmesniški enoti DSQC 355 in DSQC 354 4. | 2006 | Industrial robot with accompaning simulation software 1. Antropomorphic arm ABB IRB 140 with controler S4Cplus with teach unit 2. Robot Studio software 3. DSQC 355 and DSQC 354 | 58889.75 | Paket 12 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | To je sodoben industrijski robot. Namen te celice je uporaba offline programiranja za načrtovanje navideznega okolja in definiranje robotskega programa, potem pa prenos v robota za izvršitev in končne prilagoditve. | This si a modern industrial robot. The aim of this robotic cell is use of offline programming for definition of environment and the robot program, followed with transfer to robot cotroller for execution and final adjustments. | Več dr., mag. In dipl. nalog. | P2-0228 | industrijski projekti |  | 22467
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 24 |  | Marko Munih | 7134 | Optični merilni sistem za brezkontaktno merjenje kinematičnih parametrov gibanja, Optotrak | 2007 | Optical measurement system for contactless acquisition of kinematic parameters, Optotrak | 115355 | Paket 13 | Oprema je dostopna za industrijske in akademske partnerje. Čas dostopa ni fiksiran, je odvisen od trenutne zasedenosti, potrebna je predhodna uskladitev. Za krajša obdobja uporabe je bila oprema prosto dostopna, sicer cena po dogovoru. | Equipment is available for industrial and academic partners. Access time is not defined in advance, is dependent on current availability, advance appointment is required. For shorter periods is equipment freely available, in other cases price is agreed. | Gre za sistem kamer in aktivnih markerjev, ki omogoča zajemanje 3D koordinat markerjev s 3D točnostjo +-0.3 mm v volumnu prostora s stranico več metrov. Možno je istočasno merjenje in posredovanje izmerjenih vrednosti drugim klientom in na ta način zaprtozančno vodenje. | This is a system with cameras and active markers, for acquisition of 3D marker coordinates with 3D accuracy 0.3 mm in a volume with one side of several meters. Possible is simultaneous acquisition and transfer to other clients for real time feedback control. | Več dr., mag. In dipl. nalog. | P2-0228 | FP6 - Alladin | FP7 - MIMICS | 24637
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 27 |  | Franjo Pernuš | 6857 | Sistem z NIR spektralno kamero | 2008 | System with NIR hyperspectral camera | 62594 | Paket 13 | Po dogovoru - odvisno od trenutnega poteka razsikav | As agreed upon requests - depends on the current experiments | Zajemanje NIR hiperspektralnih slik | Acquisition of NIR hyperspectral images | L2-7381 | L2-9758 | L2-2023 | P2-0232 | 025626, 025627
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 25 |  | Janko Drnovšek | 10774 | Sistem za realizacijo nove mednarodne temperaturne lestvice |  | system for the realization of new temperature scale | 125187 | Paket 13 | Inštrument je mogoče uporabiti v okviru prenosa vrednosti primarnega etalona na najvišjem metrološkem nivoju (medlaboratorijska primerjava). Zaradi pogoste uporabe inštrumenta je nujen vnaprejšen dogovor glede časovne uporabe. Cena uporabe se oblikuje na podlagi ur delovanja ter ekspertnih ur upravljalca instrumenta s strani skrbnika opreme. | The instrument can be shared in a scope of transfer of primary standard value at the highest metrological level (interlaboratory comparison). Due to frequent use, the external use of the instrument shall be agreed upon long time in advance. The cost of the external use is based on the working time of the instrument and expert hours of the operator. | Sistem služi za realizacijo ter spremljanje le-te različnih fiksnih točk. Z njim se prenaša vrednost primarnega etalona temperature na delovne etalone v raziskovalnih inštitucijah in industriji. | The system is used for realization and monitoring of the realization of different fixed points. It is used to disseminate the value of the primary temperature stnadard to the working standards within research institutions and industry.
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 29 |  | Slavko Amon | 1926 | Elipsometrični merilnik tankih plasti | 2007 | Spektroskoptični elipsometer (angl. spectroscopic ellipsometer) SpecEL-2000-VIS z dodatkom za analizo plinov Micro GC 3000 A (leto 2008) | 78000 | Paket 13 | Oprema je nameščena v čistih prostorih in je pod ustreznimi pogoji dostopna tudi drugim raziskovalnim organizacijam | The equipment is installed in clean room environment and is accessible also to other research institutions. | Karakterizacija (debeline, lomni količnik) tankoplastnih transparentnih filmov | Characterization of transparent thin films (thickness, refractive index). | R-513 | R-815 | R-275 | R-272 | 24609
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 4 | P2-0249 / IP-0510 | Damijan Miklavčič | 10268 | Sistem za merjenje nanosekundnih visokonapetostnih električnih pulzov | 2007 | System for measurement of nanosecond high-voltage electric pulses | 75000 | Paket 13 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. Uporaba opreme (tako osciloskopa kot šritih pripadajočih sond) je mogoča po predhodnem dogovoru. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. The system (the oscilloscope and/or the four probes) is available upon request. | Z osciloskopom je mogoče sočasno na štirih vhodnih kanalih opazovati pulze z manj kot nanosekundnim dvižnim časom. S pripadajočimi specializiranimi sondami (diferencialna, visokonapetostna in dve aktivni sondi) lahko merimo različne tokovne in napetostne parametre takšnih pulzov. | The oscilloscope allows for simultaneous four-channel monitoring of electric pulses with subnanosecond risetimes. The specialized probes that are part of the system (a differential probe, a high-voltage probe, and two active probes) enable the measurements of various current and voltage parameters of such pulses. | Z2-7046 | Z2-2025 | – | – | 24643
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 13 |  | Drago Matko | 1951 | Raziskovalno okolje za študij naprednih metod v mobilni robotiki | 2007-2008 | Research environment for study of advanced methods in mobile robotics | 74900 | Paket 13 | Oprema je v delovnem času (8:00 -16:00) pogosto v uporabi za raziskovalne skupine. Možnost dostopa bi tako bila le v popoldanskih urah oziroma izjemoma po vnaprejšnjem dogovoru. | Equipment is in use during working hours (8:00-16:00) by the members of research group. Therefore it is only available in the afternoon hours or otherwise if arranged. | Raziskovalna oprema je namenjena raziskovanju na področju mobilne robotike, kjer gre za metode vodenja, zaznavanja, razpoznavanje okolice in večagentne sisteme. Oprema se je in se uporablja tudi v okviru različnih raziskovalnih projektov ter za namene študija na diplomskem, podiplomskem študiju in doktorskem študiju. | Research equipment is intended for research in mobile robotics area such as: control methods, detection and recognition of the environment and multiagent systems. Equipment was and is in use also in different research projects and for study purposes of graduate, postgraduate and Ph.D study. | M2-0116 | P2-0219 | bilatralna sodelovanja s: Hrvaško 2004/2005 2007/2008, Francijo 2007/2008, Avstrijo 2007/2008 |  | 24041, 24837, 24841, 23138, 24897, 24840, 25922, 25924
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 30 |  | Marko Topič | 12609 | Merilnik učinkovitosti pretvorbe sončnih celic s sončnim simulatorjem | 2007 | Solar Simulator AM1.5 | 99553 | Paket 13 | Merilnik se nahaja v Laboratoriju za fotovoltaiko in optoelektroniko. Za možnost karakterizacijo vzorcev kontaktirajte predstojnika LPVO prof. dr. Marka Topiča. Glede na intenzivno uporabo merilnika za lastne RR potrebe je uporaba možna le v poznih popoldanskih terminih. | Measurement set-up is located in Laboratory of Photovoltaics and Optoelectronics. To characterize samples the head of LPVO prof. dr. Marko Topic should be contacted. | Merjenje učinkovitosti pretvorbe pod umetnim soncem spektra AM1.5. | Measurement of conversion efficiency under solar irradiance AM1.5 | R-512 | R-115 | S-611E | S-706E | 24396
Univerza v Ljubljani, Fakulteta za elektrotehniko | 1538 | 3 |  | Jurij F.Tasič | 1075 | Enota za razvoj in vertifikacijo kvalitete interaktivnih večpredstavnih storitev |  |  | 71000 | Paket 13 |  |  | V sestavu razpolagamo s sistemom za nelinearno urejanje video gradiva, sistemom za urejanje multimedijskih gradiv, DVB predvajalnim (playout) studiom, testnimi DVB sprejemniki ter s strežniki interaktivnih multimedijskih storitev. | The system consistes of nonlinear video editing system, multimedia production system, DVB playout studio, DVB test receivers and servers for interactive media services. | IST-4-027866 ELU (Enhanced Learning Unlimited) | IST-02731 LIVE (Live staging of media events) | P2-0246 (C) Algoritmi in optimizacijski postopki v telekomunikacijah | IST-044985 VICTORY (Audio-VIsual ConTent search and retrieval in a distributed P2P repositORY) | 24880 25008
Univerza v Ljubljani, Fakulteta za elektrotehniko ***DOSLEJ NI BIL VPISAN V EVIDENCO*** | 1538 | 4 | P2-0249 / IP-0510 | Damijan Miklavčič | 10268 | Sistem za dinamično mikroskopsko slikanje | 1999 | System for dynamic microscopic imaging | 75113 | Paket 10 | Oprema se nahaja v Laboratoriju za biokibernetiko FE UL, za dostop je potrebno kontaktirati predstojnika laboratorija prof. Damijana Miklavčiča. Fluorescenčni mikroskop je močno zaseden in dostopen zunanjim RO le v poznih popoldanskih in večernih urah ter ob vikendih. | The equipment is located in the Laboratory of Biocybernetics, Fac. of El. Eng., Univ. of Ljubljana. Contact lab head prof. Damijan Miklavčič. The fluorescence microscope is only available to external RO on late afternoons, evenings and weekends. | Sistem je sestavljen iz invertnega fluorescenčnega mikroskopa Zeiss AxioVert 200, CCD kamere z visoko ločljivostjo in monokromatorja, ki omogoča izbiro poljubne valovne dolžine v vidnem spektru. Programska oprema, ki je prav tako del sistema (MetaMorph in MetaFluor), omogoča zajemanje, analizo in obdelavo zajetih slik. | The system consists of the Zeiss AxioVert 200 inverted fluorescence microscope, a high-resolution CCD camera and a monochromator allowing for selection of an arbitrary wavelength within the optical spectrum. The software that is also a part of the system (MetaMorph and MetaFluor) allows for image acquisition, analysis and processing. | J2-7524 | Z2-7046 | J2-9764 | Z2-9229 | 18452